Supplementary Table 1. Suggested Framework for Comprehensive Departmental Perfusion Protocols

| Protocol Category | Example Protocols | Purpose |
| --- | --- | --- |
| Routine Cardiopulmonary Bypass | Anticoagulation management, ACT monitoring, circuit setup, priming, myocardial protection, temperature management, blood conservation | Standardize routine CPB conduct and reduce practice variability |
| Special Patient Populations | APS, HIT, pregnancy, morbid obesity, sickle cell disease, cold agglutinin disease, severe pulmonary hypertension, inherited coagulation disorders | Provide evidence-based guidance for uncommon and high-risk patients |
| Mechanical Circulatory Support | ECMO initiation, ECPR, VAD support, temporary MCS, ECMO-to-CPB and CPB-to-ECMO conversion | Standardize support strategies and emergency management |
| Transplantation | Heart transplantation, lung transplantation, Liver Transplant, combined organ transplantation, ex vivo organ support | Address unique perfusion requirements in transplant programs |
| Emergency Management | Oxygenator failure, air embolism, venous air lock, pump failure, gas supply interruption, massive hemorrhage | Improve preparedness and reduce response times during critical events |
| Crisis Response Checklists | Emergency decannulation, heparin resistance, protamine reaction, cardioplegia delivery failure, emergency sternotomy | Provide rapid-access guidance during time-critical situations |
| Education and Competency | Orientation pathways, onboarding, annual competency assessment, simulation training, continuing education | Support staff development and knowledge retention |
| Quality Improvement and Governance | Protocol review, version control, incident review, audit programs, quality metrics, protocol compliance monitoring | Facilitate continuous quality improvement and governance |
| Equipment and Technology | Heater-cooler management, backup equipment, monitoring systems, point-of-care testing, troubleshooting guides | Promote equipment readiness and safe technology utilization |
| ECMO and Critical Care Support | Retrieval programs, transport protocols, mobilization, bedside procedures, weaning and decannulation | Standardize extracorporeal support beyond the operating room |

Supplementary Table 2. Risk-Based Prioritization Framework for Protocol Development and Implementation

| Priority Level | Risk Profile | Frequency | Examples | Recommended Timeline |
| --- | --- | --- | --- | --- |
| Priority 1 | High Risk | High Frequency | CPB anticoagulation management, ACT monitoring, circuit setup, priming, myocardial protection, temperature management, blood conservation, oxygen delivery monitoring | Immediate implementation |
| Priority 2 | High Risk | Low Frequency | Air embolism, oxygenator failure, venous air lock, pump malfunction, gas supply interruption, protamine reaction, heparin resistance, emergency decannulation, ECPR deployment, ECMO-to-CPB conversion | Immediate implementation / early development |
| Priority 3 | High Risk | Moderate Frequency | ECMO initiation and management, ECMO retrieval, VAD support, temporary mechanical circulatory support, CPB-to-ECMO conversion, minimally invasive cardiac surgery conversion | Intermediate implementation |
| Priority 4 | Institution-Specific / Specialized Services | Low Frequency | Heart transplantation, lung transplantation, liver transplantation, pregnancy requiring cardiac surgery, APS, HIT, sickle cell disease, cold agglutinin disease, combined organ transplantation | Develop according to local case mix and services offered |
| Priority 5 | Governance, Education and Quality Improvement | Ongoing | Audit programs, competency assessments, simulation training, protocol review processes, document control, incident review, compliance monitoring | Continuous maintenance |