Supplementary Fig. 1.

The process of microscopy of cell cultures. (a) – Inverted optical microscope Leica DM IRB with a digital CCD camera during the imaging of cell cultures; (b) – Cell culture of lipoblasts in a culture flask; (c) – Photograph of lipoblasts.

Supplementary Fig. 2.

Distribution of file counts per culture across different sets (train, valid, test). The cultures are represented by different colors, and the x-axis indicates the total number of files for each culture within each set.

Supplementary Fig. 3.

Mono Class model. Culture 1. Original image and image with predicted mask on it. Detected cells on the image: 314

Supplementary Table 1. Descriptive statistics of cell counting by the operator and neural network models of mono- and multiclass type for lipocyte culture at different time intervals.

| Day | Model | N | Mean | SD | SE | Coefficient of variation |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Multiclass model | 5 | 188.400 | 48.614 | 21.741 | 0.258 |
|  | Single-classmodel | 5 | 155.400 | 15.821 | 7.075 | 0.102 |
|  | Operator | 5 | 190.000 | 25.348 | 11.336 | 0.133 |
| 2 | Multiclass model | 5 | 350.000 | 40.994 | 18.333 | 0.117 |
|  | Single-classmodel | 5 | 367.800 | 42.833 | 19.156 | 0.116 |
|  | Operator | 5 | 428.000 | 35.868 | 16.041 | 0.084 |
| 3 | Multiclass model | 5 | 1241.400 | 157.170 | 70.288 | 0.127 |
|  | Single-class model | 5 | 1344.000 | 173.783 | 77.718 | 0.129 |
|  | Operator | 5 | 1100.000 | 179.102 | 80.097 | 0.163 |
| 5 | Multiclass model | 5 | 900.600 | 254.634 | 113.876 | 0.283 |
|  | Single-class model | 5 | 1352.800 | 206.078 | 92.161 | 0.152 |
|  | Operator | 5 | 2927.200 | 346.735 | 155.065 | 0.118 |
| 6 | Multiclass model | 5 | 1142.800 | 975.581 | 436.293 | 0.854 |
|  | Single-class model | 5 | 1901.000 | 393.054 | 175.779 | 0.207 |
|  | Operator | 5 | 5518.200 | 604.402 | 270.297 | 0.110 |

Supplementary Table 2. Descriptive statistics of cell counting by the operator and neural network models of mono- and multiclass type for myogenic cell culture at different time intervals.

| Day | Model | N | Mean | SD | SE | Coefficient of variation |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Operator | 5 | 30.000 | 10.050 | 4.494 | 0.335 |
|  | Single-class model | 5 | 56.200 | 27.581 | 12.335 | 0.491 |
|  | Multiclass model | 5 | 34.800 | 12.755 | 5.704 | 0.367 |
| 2 | Operator | 5 | 45.200 | 6.301 | 2.818 | 0.139 |
|  | Single-class model | 5 | 28.600 | 11.194 | 5.006 | 0.391 |
|  | Multiclass model | 5 | 58.200 | 13.461 | 6.020 | 0.231 |
| 3 | Operator | 5 | 79.400 | 6.427 | 2.874 | 0.081 |
|  | Single-class model | 5 | 43.200 | 10.569 | 4.727 | 0.245 |
|  | Multiclass model | 5 | 55.200 | 11.032 | 4.934 | 0.200 |
| 4 | Operator | 5 | 89.000 | 3.873 | 1.732 | 0.044 |
|  | Single-class model | 5 | 10.400 | 3.362 | 1.503 | 0.323 |
|  | Multiclass model | 5 | 49.000 | 20.555 | 9.192 | 0.419 |

Supplementary Table 3. Descriptive statistics of cell counting by the operator and neural network models of mono- and multiclass type for fibroblast culture at different time intervals.

| Day | Model | N | Mean | SD | SE | Coefficient of variation |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Multiclass model | 5 | 237.000 | 106.012 | 47.410 | 0.447 |
|  | Single-class model | 5 | 243.400 | 84.725 | 37.890 | 0.348 |
|  | Operator | 5 | 309.600 | 46.763 | 20.913 | 0.151 |
| 2 | Multiclass model | 5 | 656.000 | 327.282 | 146.365 | 0.499 |
|  | Single-class model | 5 | 656.800 | 218.435 | 97.687 | 0.333 |
|  | Operator | 5 | 670.000 | 82.234 | 36.776 | 0.123 |
| 3 | Multiclass model | 5 | 1074.000 | 363.639 | 162.624 | 0.339 |
|  | Single-class model | 5 | 1401.600 | 354.323 | 158.458 | 0.253 |
|  | Operator | 5 | 711.400 | 33.716 | 15.078 | 0.047 |
| 4 | Multiclass model | 5 | 371.400 | 250.581 | 112.063 | 0.675 |
|  | Single-class model | 5 | 1425.800 | 534.195 | 238.899 | 0.375 |
|  | Operator | 5 | 1166.200 | 326.247 | 145.902 | 0.280 |
| 5 | Multiclass model | 5 | 221.200 | 89.021 | 39.811 | 0.402 |
|  | Single-class model | 5 | 386.200 | 184.562 | 82.539 | 0.478 |
|  | Operator | 5 | 3465.400 | 711.758 | 318.308 | 0.205 |