Supplementary Data:

Supplementary Table 1. Demographic and clinical characteristics of COVID-19 patients.

| Sample ID | Age | Gender | PCR test date | PCR result | Neutralization assay (sVNT, GenScript) * |  | Mindray CL-900i anti-SARS-CoV-2 IgG** |  | Abbot Architect anti-SARS-CoV-2 IgG*** |  | VITROS® anti-SARS-CoV-2 total Ab**** |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | % Inhibition | Result | AU/mL | Result | S/C | Result | S/C | Result |
| 1 | 53 | Male | 7/25/2020 | Reactive | 62.7 | Positive | 512.9 | Positive | 6.68 | Positive | 80.0 | Positive |
| 2 | 52 | Male | 7/26/2020 | Reactive | 41.5 | Positive | 40.1 | Positive | 3.40 | Positive | 22.5 | Positive |
| 3 | 47 | Male | 7/25/2020 | Reactive | 48.0 | Positive | 73.4 | Positive | 3.96 | Positive | 55.0 | Positive |
| 4 | 36 | Male | 7/26/2020 | Reactive | 52.3 | Positive | 48.8 | Positive | 2.40 | Positive | 232.0 | Positive |
| 5 | 38 | Male | 7/25/2020 | Reactive | 30.0 | Positive | 29.4 | Positive | 2.28 | Positive | 103.0 | Positive |
| 6 | 50 | Male | 7/27/2020 | Reactive | 56.4 | Positive | 105.6 | Positive | 1.83 | Positive | 133.0 | Positive |
| 7 | 31 | Male | 7/27/2020 | Reactive | 86.3 | Positive | 119.4 | Positive | 3.23 | Positive | 468.0 | Positive |
| 8 | 36 | Male | 7/26/2020 | Reactive | 91.1 | Positive | 110.6 | Positive | 4.37 | Positive | 349.0 | Positive |
| 9 | 41 | Male | 7/26/2020 | Reactive | 29.6 | Positive | 21.7 | Positive | 2.49 | Positive | 19.4 | Positive |
| 10 | 34 | Male | 7/28/2020 | Reactive | 37.7 | Positive | 197.0 | Positive | 6.39 | Positive | 11.7 | Positive |
| 11 | 49 | Male | 7/25/2020 | Reactive | 87.0 | Positive | 143.1 | Positive | 5.19 | Positive | 394.0 | Positive |
| 12 | 43 | Male | 7/28/2020 | Reactive | 81.6 | Positive | 141.1 | Positive | 6.07 | Positive | 250.0 | Positive |
| 13 | 32 | Male | 7/27/2020 | Reactive | 78.1 | Positive | 99.9 | Positive | 4.15 | Positive | 378.0 | Positive |
| 14 | 46 | Male | 7/28/2020 | Reactive | 73.2 | Positive | 162.2 | Positive | 4.64 | Positive | 328.0 | Positive |
| 15 | 37 | Male | 7/25/2020 | Reactive | 86.1 | Positive | 468.3 | Positive | 5.74 | Positive | 258.0 | Positive |
| 16 | 30 | Male | 7/25/2020 | Reactive | 76.9 | Positive | 88.7 | Positive | 5.28 | Positive | 262.0 | Positive |
| 17 | 37 | Male | 7/26/2020 | Reactive | 65.7 | Positive | 35.2 | Positive | 1.58 | Positive | 201.0 | Positive |
| 18 | 32 | Male | 7/29/2020 | Reactive | 88.2 | Positive | 127.6 | Positive | 4.74 | Positive | 686.0 | Positive |
| 19 | 36 | Male | 7/27/2020 | Positive | 81.6 | Positive | 69.2 | Positive | 6.31 | Positive | 297.0 | Positive |
| 20 | 54 | Male | 7/27/2020 | Reactive | 91.5 | Positive | 339.6 | Positive | 8.18 | Positive | 379.0 | Positive |
| 21 | 58 | Male | 7/25/2020 | Reactive | 51.1 | Positive | 29.4 | Positive | 1.32 | Negative | 144.0 | Positive |
| 22 | 36 | Male | 7/25/2020 | Reactive | 63.1 | Positive | 8.9 | Negative | 0.60 | Negative | 182.0 | Positive |
| 23 | 47 | Male | 7/27/2020 | Reactive | 88.6 | Positive | 47.7 | Positive | 1.95 | Positive | 448.0 | Positive |
| 24 | 49 | Male | 7/25/2020 | Reactive | 72.9 | Positive | 29.4 | Positive | 0.55 | Negative | 339.0 | Positive |
| 25 | 46 | Male | 7/25/2020 | Reactive | 53.2 | Positive | 641.9 | Positive | 6.98 | Positive | 131.0 | Positive |
| 26 | 52 | Male | 7/28/2020 | Reactive | 86.6 | Positive | 136.1 | Positive | 4.81 | Positive | 490.0 | Positive |
| 27 | 26 | Male | 7/26/2020 | Reactive | 47.7 | Positive | 20.2 | Positive | 1.16 | Negative | 120.0 | Positive |
| 28 | 36 | Male | 7/25/2020 | Reactive | 53.7 | Positive | 63.1 | Positive | 4.63 | Positive | 42.2 | Positive |
| 29 | 35 | Male | 7/25/2020 | Reactive | 68.1 | Positive | 27.0 | Positive | 0.73 | Negative | 360.0 | Positive |
| 30 | 33 | Male | 7/28/2020 | Reactive | 92.5 | Positive | 71.7 | Positive | 2.32 | Positive | >1000 | Positive |
| 31 | 26 | Male | 7/25/2020 | Reactive | 39.6 | Positive | 20.1 | Positive | 2.56 | Positive | 143.0 | Positive |
| 32 | 35 | Male | 7/25/2020 | Reactive | 46.8 | Positive | 18.5 | Positive | 0.84 | Negative | 21.0 | Positive |
| 33 | 41 | Male | 7/25/2020 | Reactive | 60.9 | Positive | 35.0 | Positive | 1.84 | Positive | 235.0 | Positive |
| 34 | 28 | Male | 7/25/2020 | Reactive | 57.4 | Positive | 59.5 | Positive | 2.88 | Positive | 362.0 | Positive |
| 35 | 42 | Male | 7/25/2020 | Reactive | 86.5 | Positive | 331.0 | Positive | 6.60 | Positive | 925.0 | Positive |
| 36 | 31 | Male | 7/25/2020 | Reactive | 82.9 | Positive | 92.2 | Positive | 2.17 | Positive | 815.0 | Positive |
| 37 | 26 | Male | 7/27/2020 | Reactive | 85.7 | Positive | 149.1 | Positive | 5.32 | Positive | 403.0 | Positive |
| 38 | 38 | Male | 6/1/2020 | Positive | 77.4 | Positive | 269.4 | Positive | 5.80 | Positive | 279.0 | Positive |
| 39 | 31 | Male | 7/27/2020 | Reactive | 45.7 | Positive | 72.7 | Positive | 0.88 | Negative | 245.0 | Positive |
| 40 | 40 | Male | 7/25/2020 | Reactive | 74.3 | Positive | 114.9 | Positive | 3.38 | Positive | 491.0 | Positive |
| 41 | 40 | Male | 7/28/2020 | Positive | 18.6 | Negative | 137.4 | Positive | 5.10 | Positive | 16.4 | Positive |
| 42 | 28 | Male | 7/28/2020 | Reactive | 88.0 | Positive | 64.1 | Positive | 3.72 | Positive | 577.0 | Positive |
| 43 | 25 | Male | 7/27/2020 | Reactive | 80.0 | Positive | 84.1 | Positive | 4.35 | Positive | 401.0 | Positive |
| 44 | 36 | Male | 7/26/2020 | Reactive | 78.7 | Positive | 188.6 | Positive | 5.65 | Positive | 688.0 | Positive |
| 45 | 48 | Male | 7/25/2020 | Positive | 41.8 | Positive | 25.0 | Positive | 1.85 | Positive | 146.0 | Positive |
| 46 | 52 | Male | 6/6/2020 | Positive | 72.2 | Positive | 92.4 | Positive | 3.75 | Positive | 304.0 | Positive |
| 47 | 35 | Male | 7/25/2020 | Reactive | 77.9 | Positive | 83.3 | Positive | 3.21 | Positive | 670.0 | Positive |
| 48 | 28 | Male | 7/28/2020 | Reactive | 63.3 | Positive | 43.3 | Positive | 3.43 | Positive | 53.5 | Positive |
| 49 | 52 | Male | 7/27/2020 | Reactive | 44.8 | Positive | 54.7 | Positive | 4.07 | Positive | 110.0 | Positive |
| 50 | 44 | Male | 7/27/2020 | Reactive | 62.8 | Positive | 15.9 | Positive | 0.64 | Negative | 150.0 | Positive |
| 51 | 33 | Male | 7/28/2020 | Reactive | 77.6 | Positive | 116.7 | Positive | 4.39 | Positive | 96.9 | Positive |
| 52 | 26 | Male | 7/26/2020 | Reactive | 36.3 | Positive | 14.0 | Positive | 0.55 | Negative | 88.9 | Positive |
| 53 | 30 | Male | 7/31/2020 | Reactive | 59.9 | Positive | 29.0 | Positive | 2.68 | Positive | 32.1 | Positive |
| 54 | 29 | Male | 7/26/2020 | Reactive | 74.2 | Positive | 218.2 | Positive | 3.79 | Positive | 526.0 | Positive |
| 55 | 21 | Male | 7/28/2020 | Positive | 16.4 | Negative | 0.5 | Negative | 0.02 | Negative | 0.7 | Negative |
| 56 | 55 | Male | 6/24/2020 | Positive | 73.9 | Positive | 175.9 | Positive | 2.02 | Positive | 163.0 | Positive |
| 57 | 34 | Male | 6/30/2020 | Reactive | 16.8 | Negative | 6.1 | Negative | 0.43 | Negative | 18.3 | Positive |
| 58 | 48 | Male | 6/27/2020 | Positive | 48.4 | Positive | 16.6 | Positive | 1.51 | Positive | 5.5 | Positive |
| 59 | 61 | Male | 6/24/2020 | Positive | 32.7 | Positive | 6.0 | Negative | 0.13 | Negative | 213.0 | Positive |
| 60 | 39 | Male | 6/24/2020 | Positive | 63.4 | Positive | 38.7 | Positive | 1.94 | Positive | 53.9 | Positive |
| 61 | 38 | Male | 6/29/2020 | Positive | 50.9 | Positive | 41.5 | Positive | 3.05 | Positive | 188.0 | Positive |
| 62 | 31 | Male | 7/26/2020 | Positive | 86.2 | Positive | 585.7 | Positive | 5.75 | Positive | 176.0 | Positive |
| 63 | 38 | Male | 6/30/2020 | Reactive | 47.1 | Positive | 48.2 | Positive | 2.25 | Positive | 323.0 | Positive |
| 64 | 57 | Male | 7/26/2020 | Positive | 46.3 | Positive | 45.1 | Positive | 0.70 | Negative | 47.8 | Positive |
| 65 | 49 | Male | 8/11/2020 | Positive | 59.1 | Positive | 60.3 | Positive | 4.95 | Positive | 10.8 | Positive |
| 66 | 63 | Male | 7/25/2020 | Reactive | 26.9 | Positive | 30.9 | Positive | 0.05 | Negative | >1000 | Positive |
| 67 | 42 | Male | 9/11/2020 | Reactive | 93.9 | Positive | 59.9 | Positive | 1.11 | Negative | 1.2 | Positive |
| 68 | 42 | Male | 7/30/2020 | Reactive | 34.5 | Positive | 45.1 | Positive | 4.64 | Positive | 575.0 | Positive |
| 69 | 37 | Male | 7/29/2020 | Reactive | 72.9 | Positive | 122.3 | Positive | 3.37 | Positive | 444.0 | Positive |
| 70 | 29 | Male | 7/29/2020 | Reactive | 90.0 | Positive | 57.9 | Positive | 2.97 | Positive | 138.0 | Positive |
| 71 | 35 | Male | 7/29/2020 | Reactive | 67.4 | Positive | 21.0 | Positive | 0.95 | Negative | 65.0 | Positive |
| 72 | 24 | Male | 7/29/2020 | Reactive | 74.0 | Positive | 90.0 | Positive | 5.28 | Positive | 856.0 | Positive |
| 73 | 29 | Male | 7/30/2020 | Reactive | 93.4 | Positive | 246.0 | Positive | 6.39 | Positive | 780.0 | Positive |
| 74 | 45 | Male | 7/29/2020 | Reactive | 91.0 | Positive | 177.1 | Positive | 6.16 | Positive | 464.0 | Positive |
| 75 | 33 | Male | 7/29/2020 | Positive | 92.2 | Positive | 200.2 | Positive | 5.81 | Positive | 112.0 | Positive |
| 76 | 26 | Male | 7/16/2020 | Reactive | 71.1 | Positive | 34.1 | Positive | 1.63 | Positive | 102.0 | Positive |
| 77 | 29 | Male | 7/31/2020 | Reactive | 72.7 | Positive | 34.3 | Positive | 1.79 | Positive | 0.3 | Negative |
| 78 | 31 | Male | 7/29/2020 | Reactive | −2.9 | Negative | 3.3 | Negative | 0.12 | Negative | 145.0 | Positive |
| 79 | 30 | Male | 7/29/2020 | Reactive | 60.5 | Positive | 49.9 | Positive | 1.44 | Positive | 503.0 | Positive |
| 80 | 37 | Male | 7/31/2020 | Reactive | 51.1 | Positive | 9.0 | Negative | 0.31 | Negative | 152.0 | Positive |
| 81 | 47 | Male | 7/3/2020 | Reactive | 82.8 | Positive | 110.3 | Positive | 2.80 | Positive | 601.0 | Positive |
| 82 | 20 | Male | 9/11/2020 | Reactive | 22.9 | Positive | 33.5 | Positive | 0.52 | Negative | 10.9 | Positive |
| 83 | 22 | Male | 7/16/2020 | Reactive | 37.4 | Positive | 202.6 | Positive | 3.16 | Positive | 13.3 | Positive |
| 84 | 31 | Male | 8/3/2020 | Positive | 67.1 | Positive | 183.3 | Positive | 6.44 | Positive | 38.4 | Positive |
| 85 | 27 | Male | 7/31/2020 | Reactive | 85.7 | Positive | 73.5 | Positive | 4.17 | Positive | 425.0 | Positive |
| 86 | 39 | Male | 7/30/2020 | Reactive | 69.2 | Positive | 318.0 | Positive | 4.14 | Positive | 55.0 | Positive |
| 87 | 20 | Male | 7/29/2020 | Reactive | 24.6 | Positive | 9.7 | Negative | 1.87 | Positive | 5.2 | Positive |
| 88 | 46 | Male | 7/6/2020 | Reactive | 84.9 | Positive | 187.5 | Positive | 4.62 | Positive | 749.0 | Positive |
| 89 | 38 | Male | 7/2/2020 | Reactive | 33.1 | Positive | 8.8 | Negative | 1.11 | Negative | 24.6 | Positive |
| 90 | 39 | Male | 7/30/2020 | Reactive | 78.9 | Positive | 145.7 | Positive | 8.22 | Positive | 200.0 | Positive |
| 91 | 23 | Male | 7/15/2020 | Reactive | 69.8 | Positive | 34.5 | Positive | 1.52 | Positive | 273.0 | Positive |
| 92 | 21 | Male | 8/17/2020 | Reactive | 85.1 | Positive | 65.0 | Positive | 3.29 | Positive | 120.0 | Positive |
| 93 | 45 | Male | 7/29/2020 | Reactive | 34.9 | Positive | 149.0 | Positive | 7.87 | Positive | 29.4 | Positive |
| 94 | 63 | Male | 7/25/2020 | Reactive | 66.6 | Positive | 38.8 | Positive | 2.17 | Positive | 281.0 | Positive |
| 95 | 37 | Male | 7/29/2020 | Reactive | 91.0 | Positive | 297.7 | Positive | 9.85 | Positive | 305.0 | Positive |
| 96 | 20 | Male | 7/29/2020 | Reactive | 68.9 | Positive | 23.3 | Positive | 0.85 | Negative | 89.8 | Positive |
| 97 | 30 | Male | 7/25/2020 | Reactive | 64.6 | Positive | 26.0 | Positive | 2.01 | Positive | 130.0 | Positive |
| 98 | 21 | Male | 7/26/2020 | Reactive | 12.4 | Negative | 0.7 | Negative | 0.02 | Negative | 0.1 | Negative |
| 99 | 23 | Male | 7/26/2020 | Reactive | 92.7 | Positive | 110.3 | Positive | 4.17 | Positive | 430.0 | Positive |
| 100 | 21 | Male | 7/28/2020 | Reactive | 68.8 | Positive | 217.3 | Positive | 2.75 | Positive | 131.0 | Positive |
| 101 | 58 | Male | 8/16/2020 | Reactive | 87.4 | Positive | 128.0 | Positive | 4.04 | Positive | 248.0 | Positive |
| 102 | 43 | Male | 8/25/2020 | Reactive | 92.9 | Positive | 435.6 | Positive | 7.69 | Positive | 598.0 | Positive |
| 103 | 47 | Male | 8/10/2020 | Reactive | 67.3 | Positive | 96.3 | Positive | 5.45 | Positive | 165.0 | Positive |
| 104 | 27 | Male | 9/28/2020 | Reactive | 63.9 | Positive | 54.3 | Positive | 2.68 | Positive | 145.0 | Positive |
| 105 | 36 | Male | 8/9/2020 | Reactive | 54.9 | Positive | 26.5 | Positive | 1.51 | Positive | 115.0 | Positive |
| 106 | 29 | Male | 8/12/2020 | Reactive | 71.4 | Positive | 29.7 | Positive | 0.90 | Negative | 543.0 | Positive |
| 107 | 42 | Male | 8/9/2020 | Positive | 87.4 | Positive | 196.0 | Positive | 4.69 | Positive | 759.0 | Positive |
| 108 | 32 | Male | 8/10/2020 | Reactive | 58.0 | Positive | 0.7 | Negative | 0.29 | Negative | 158.0 | Positive |
| 109 | 29 | Male | 8/11/2020 | Reactive | 35.4 | Positive | 222.1 | Positive | 3.21 | Positive | 12.6 | Positive |
| 110 | 28 | Male | 8/10/2020 | Reactive | 81.5 | Positive | 129.7 | Positive | 3.90 | Positive | 244.0 | Positive |
| Median (IQR) | 36 (29–45) |  |  |  |  |  |  |  |  |  |  |  |

PCR, polymerase chain reaction; IQR, interquartile range; sVNT, surrogate virus neutralization test; M, Male; F, Female; Positive, CT ≤30; Reactive, CT >30 & <32.

*GenScript surrogate virus neutralization test (sVNT), <20% inhibition: negative, ≥20% inhibition: positive.

**Mindray CL-900i anti-SARS-CoV-2 IgG assay, <10 U/mL: negative, ≥10 AU/mL: positive.

***Abbot Architect SARS-CoV-2 IgG assay, <1.4 S/C negative, ≥1.4 S/C: positive.

****Ortho VITROS® Anti-SARS-CoV-2 Total Ab assay, <1.0 S/C: negative, ≥1.0 S/C: positive.

Supplementary Table 2. Demographic and clinical characteristics of pre-pandemic samples.

| Sample ID | Age | Gender | Characteristics | Neutralization assay (sVNT, GenScript) | Mindray CL-900i anti-SARS-CoV-2 IgG | Abbot Architect anti-SARS-CoV-2 IgG | VITROS® anti-SARS-CoV-2 total Ab |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Result | Result | Result | Result |
| 786 | 40 | M | DENV IgG+, HSV1+ | Negative | Negative | Negative | Negative |
| 3388 | 33 | M |  | Negative | Negative | Negative | Negative |
| 3357 | 30 | M | DENV IgG+, HSV1+, HSV2+ | Negative | Negative | Negative | Negative |
| 3130 | 23 | M | DENV IgG+, HSV1+ | Negative | Negative | Negative | Negative |
| 2265 | 35 | M | DENV IgG+, HSV1+, HSV2+ | Negative | Negative | Negative | Negative |
| 3115 | 36 | M | DENV IgG+ | Negative | Negative | Negative | Negative |
| 2580 | 23 | M | DENV IgG+ | Negative | Negative | Negative | Negative |
| 2151 | 50 | M | DENV IgG+, HSV1+ | Negative | Negative | Negative | Negative |
| 1284 | 28 | M | DENV IgG+, HEV IgG+, HSV1+ | Negative | Negative | Negative | Negative |
| 3480 | 36 | M | DENV IgG+, HSV1+, HEV IgG+ | Negative | Negative | Negative | Negative |
| 3222 | 57 | M | DENV IgG+, HSV2+ | Negative | Negative | Negative | Negative |
| 1986 | 26 | M | DENV IgG+, HEV IgG+, HSV1+ | Negative | Negative | Negative | Negative |
| 688 P2 | 37 | M | DENV IgG+, HEV IgG+ | Negative | Negative | Negative | Negative |
| 1283 p2 | 40 | M | DENV IgG+, HSV1+, HEV IgG+ | Negative | Negative | Negative | Negative |
| 1292 p2 | 29 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 1423 P2 | 26 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 2272 p2 | 43 | F | Influenza+ | Negative | Negative | Negative | Negative |
| 2313 p2 | 41 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 2315 p2 | 57 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 2319 p2 | 39 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 2333 p2 | 31 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 2360 p2 | 30 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 2372 P2 | 39 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 2375 P2 | 29 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 3054 p2 | 24 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 388 p2 | 37 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 4534 P2 | 22 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 816 P2 | 35 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 1465 P2 | 27 | M | Influenza+ | Negative | Negative | Negative | Negative |
| 1466 p2 | 31 | M | WNV IgM+/IgG+ | Negative | Negative | Negative | Negative |
| 1496 P2 | 33 | M | B19 IgG+/IgM−, | Negative | Negative | Negative | Negative |
| 2106 p2 | 45 | M | B19 IgG+/IgM− | Negative | Negative | Negative | Negative |
| 2612 P2 | 34 | M | B19 IgG+, HSV1 IgG+ | Negative | Negative | Negative | Negative |
| 3059 P2 | 31 | M | B19 IgG+/IgM− | Negative | Negative | Negative | Negative |
| 3274 P2 | 28 | M | WNV IgM+/IgG+ | Negative | Negative | Negative | Negative |
| 4713 p2 | 50 | M | WNV IgM+/IgG+ | Negative | Negative | Negative | Negative |
| 4724 p2 | 48 | M | B19 IgG+, HSV1 IgG+ | Negative | Negative | Negative | Negative |
| 4024 P2 | 22 | M | B19 IgG+ | Negative | Negative | Negative | Negative |
| 265 P1 | 33 | M | HSV1+, HSV2−, DENGV+, | Negative | Negative | Negative | Negative |
| 303 P1 | 43 | M | HSV1+, HSV2−, B19+ | Negative | Negative | Negative | Negative |
| 1960 p2 | 23 | M | HSV1+, EBV+IgG, HEV+IgG | Negative | Negative | Negative | Negative |
| 3499 P2 | 44 | M | HEV IgG+, HSV1 IgG+, DENG IgG+ | Negative | Negative | Negative | Negative |
| 686 P2 | 43 | M | HSV1+, | Negative | Negative | Negative | Negative |
| 1042 P2 | 29 | M | HEV IgG+, HSV1+, DENGV+ | Negative | Negative | Negative | Negative |
| 1403 P2 | 31 | M | HEV IgM+ | Negative | Negative | Negative | Negative |
| 1404 P2 | 48 | M | HEV IgG+/IgM−, HSV1+, DENV+ | Negative | Negative | Negative | Negative |
| 1406 P2 | 44 | M | HEV IgG+/IgM−, B19 IgG+/IgM− | Negative | Negative | Negative | Negative |
| 1412 P2 | 32 | M | HEV IgG+/IgM−, HSV1+ | Negative | Negative | Negative | Negative |
| 1414 P2 | 49 | M | HEV IgG+/IgM−, HSV1+, HHV6 IgG+ | Negative | Negative | Negative | Negative |
| 1417 p2 | 34 | M | HSV1 IgG+, HSV2 IgG+, B19 IgG+ | Negative | Negative | Negative | Negative |
| 1430 P2 | 67 | M | HEV IgG+ | Negative | Negative | Negative | Negative |
| 1437 P2 | 39 | M | HEV IgG+/IgM− | Negative | Negative | Negative | Negative |
| 1453 P2 | 29 | M | HEV IgG+, WNV+ | Negative | Negative | Negative | Negative |
| 1457 P2 | 47 | M | HEV IgG+/IgM−, B19 IgG+/IgM− | Negative | Negative | Negative | Negative |
| 1474 P2 | 55 | M | HEV IgG+/IgM−, B19 IgG+/IgM− | Negative | Negative | Negative | Negative |
| 1481 p2 | 25 | M | HEV IgG+/IgM−, HSV1+, DENV+, | Negative | Negative | Negative | Negative |
| 1741 P2 | 33 | F | HSV1 IgG+ | Negative | Negative | Negative | Negative |
| 2155 p2 | 39 | M | HEV IgG−/IgM−, HSV2 +, B19 IgG+/IgM− | Negative | Negative | Negative | Negative |
| 2232 p2 | 46 | M | HEV IgG+ | Negative | Negative | Negative | Negative |
| 2627 P2 | 41 | M | HSV1+ | Negative | Negative | Negative | Negative |
| 2690 P2 | 37 | M | HSV2+, B19 IgG+/IgM−. | Negative | Negative | Negative | Negative |
| 2693 P2 | 33 | F | HSV1+ | Negative | Negative | Negative | Negative |
| 507 P1 | 25 | M | HEV IgG+/IgM−, B19 IgG+/IgM− | Negative | Negative | Negative | Negative |
| 661 P2 | 43 | M | HbcAb+, HBsAg+ | Negative | Negative | Negative | Negative |
| 667 P2 | 26 | M | HEV IgG+/IgM−, B19 IgM+ | Negative | Negative | Negative | Negative |
| 937 P2 | 26 | M | HEV IgG+ | Negative | Negative | Negative | Negative |
| 1018 P2 | 39 | M | HEV IgM+, HEV IgG+ | Negative | Negative | Negative | Negative |
| 2483 P2 | 29 | M | ANA+ | Negative | Negative | Negative | Negative |
| 3033 P2 | 34 | M | ANA+ | Negative | Negative | Negative | Negative |
| H97 | 23 | F | ANA+ | Negative | Negative | Negative | Negative |
| Median (IQR) | 34 (29–43) |  |  |  |  |  |  |

DENV, Dengue virus; HSV-1, herpes simplex virus 1; HSV-2 herpes simplex virus 2; HHV6, human herpesvirus-6; HEV, hepatitis E virus; B19, parvovirus B19; WNV, West Nile virus; ANA, antinuclear antibodies.