|  |  | VNT (gold standard) |  |
| --- | --- | --- | --- |
|  |  | VNT Positive | VNT Negative |
| Diesse | Diesse Positive | 84 | 2 |
|  | Diesse Negative | 0 | 2 |
| Mindray | Mindray Positive | 84 | 1 |
|  | Mindray Negative | 0 | 3 |
| Maglumi | Maglumi Positive | 84 | 1 |
|  | Maglumi Negative | 0 | 3 |
| Euroimmun | Euroimmun Positive | 79 | 0 |
|  | Euroimmun Negative | 5 | 4 |

Supplementary File 2