Mycoplasma contamination was detected by PCR using a mycoplasma detection kit （Takara, CY232, Tokyo, Japan） according to the manufacturer's instructions. The results showed that ARPE-19 cells were free of mycoplasma contamination. The following are the test results.

Figure 1. Amplification plot for ARPE-19 with FAM dye. The selected APRE-19 sample is shown in the yellow box.

Figure 2. Amplification plot for ARPE-19 with ROX dye. The selected APRE-19 sample is shown in the yellow box.

| Table 1 Test for mycoplasma contamination |  |  |
| --- | --- | --- |
| Sample | FAM dye | ROX dye |
| Positive control | Amplification | Amplification |
| Negative control | No amplification | No amplification |
| ARPE-19 | No amplification | No amplification |