Supporting information

Supplementary Table 1. Parameter setting of Ultra performance liquid chromatography-Quadrupole-Exactive mass spectrometry (UPLC-Q-Exactive MS) analysis.

|  | Parameter settings |
| --- | --- |
| Liquid chromatography analysis | An ACQUITY UPLC® HSS T3 column (2.1 × 100 mm, 1.8 µm) (Waters, Milford, MA, USA) maintained at 40°C; flow rate: 0.3 mL/min; injection volume: 2 μL. For LC-ESI(+)-MS analysis, the mobile phases consisted of (B2) 0.1% formic acid in acetonitrile (v/v) and (A2) 0.1% formic acid in water (v/v). Separation was conducted under the following gradient: 0~1 min, 8% B2; 1~8 min, 8%~98% B2; 8~10 min, 98% B2; 10~10.1 min, 98%~8% B2; 10.1~12 min, 8% B2. For LC-ESI(-)-MS analysis, the analytes were carried out with (B3) acetonitrile and (A3) ammonium formate (5 mM). Separation was conducted under the following gradient: 0~1 min, 8% B3; 1~8 min, 8%~98% B3; 8~10 min, 98% B3; 10~10.1 min, 98%~8% B3; 10.1~12 min, 8% B3. |
| Mass spectrometric detection | Simultaneous MS1 and MS/MS (Full MS-ddMS2 mode, data-dependent MS/MS) acquisition was used. Sheath gas pressure, 40 arb; aux gas flow, 10 arb; spray voltage, 3.50 kV and -2.50 kV for ESI(+) and ESI(-), respectively; capillary temperature, 325°C; MS1 range, m/z 100-1000; MS1 resolving power, 70,000 FWHM; number of data-dependant scans per cycle, 3; MS/MS resolving power, 17,500 FWHM; normalized collision energy, 30 eV; dynamic exclusion time, automatic. |

Supplementary Table 2. UPLC-MS conditions for serum metabolomic profiling.

| UPLC-MS Conditions | Parameter settings |
| --- | --- |
| UPLC conditions | Samples were chromatographically separated on an Acquity UPLC HSS T3-C18 column (Waters Corp., Shanghai, China; 100 mm × 2.1 mm, 1.8 μm) using an Acquity I-Class PLUS instrument (Waters, Milford, MA, USA). The optimized UPLC conditions included a flow rate of 0.4 mL/min, injection volume of 1 μL, and mobile phase consisting of solvents A (0.1% aqueous formic acid solution) and solvent B (0.1% aqueous formic acid solution). The gradient program was as follows: 0.1-0.25 min, 2% B; 0.25-10 min, 2-98% B; 10-13 min, 98% B; 13-13.10 min, 98%-2% B; and 13.10-15.00 min, 2% B. |
| Mass spectrometric detection | Primary and secondary mass spectrometry data were collected in MSE mode using a Waters Xevo G2-XS QTOF high resolution mass spectrometer equipped with MassLynx V4.2 acquisition software (Waters). In each data acquisition cycle, dual-channel data acquisition can be performed on both low collision energy and high collision energy at the same time. The low collision energy is 2 V, the high collision energy range is 10~40 V, and the scanning frequency is 0.2 s for a mass spectrum. The parameters of the ESI ion source are as follows: Capillary voltage: 2000 V (positive ion mode) or -1500 V (negative ion mode); cone voltage: 30 V; ion source temperature: 150°C; desolvent gas temperature 500°C; backflush gas flow rate: 50 L/h; desolventizing gas flow rate: 800 L/h. |

Supplementary Table 3. Identification of metabolic biomarkers in plasma.

| No. | tR/time | m/z | Mass error (ppm) | Metabolites | Formula | Adduct Ion | VIP | P value | Trend |  | Pathway (KEGG) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | Model vs Control | HCH vs Model |  |
| 1 | 0.59 | 154.0625 | 1.8 | L-Histidine | C6H9N3O2 | [M-H]- | 1.32 | 3.16E-03 | ↓** | ↑* | Histidine metabolism |
| 2 | 0.61 | 124.0082 | 6.7 | Beta-Alanine | C3H7NO2 | [M-H]- | 1.36 | 3.69E-04 | ↑** | ↓** | beta-Alanine metabolism |
| 3 | 0.63 | 176.0565 | 0.7 | 4-Hydroxyproline | C5H9NO3 | [M-H]- | 1.4 | 2.27E-04 | ↑** | ↓** | Arginine and proline metabolism |
| 4 | 0.66 | 132.0779 | 9.1 | Creatine | C4H9N3O2 | [M+H]+ | 1.25 | 7.55E-03 | ↓** | ↑* | Arginine and proline metabolism |
| 5 | 0.67 | 116.0717 | 9.6 | L-Proline | C5H9NO2 | [M+H]+ | 1.43 | 1.80E-04 | ↑** | ↓** | Arginine and proline metabolism |
| 6 | 0.68 | 346.0448 | -7.1 | Glutathione | C10H17N3O6S | [M+H]+ | 1.49 | 2.07E-05 | ↑** | ↓** | -- |
| 7 | 0.68 | 667.2301 | 1.4 | Stachyose | C24H42O21 | [M+H]+ | 1.52 | 8.57E-06 | ↑** | ↓** | Galactose metabolism |
| 8 | 0.71 | 426.022 | -0.3 | ADP | C10H15N5O10P2 | [M-H]- | 1.47 | 1.02E-04 | ↓** | ↑** | Purine metabolism |
| 9 | 0.78 | 115.0043 | 5.1 | Fumaric acid | C4H4O4 | [M-H]- | 1.16 | 1.15E-02 | ↓* | ↑* | Citrate cycle (TCA cycle) |
| 10 | 0.78 | 133.0149 | 5.2 | L-Malic acid | C4H6O5 | [M-H]- | 1.32 | 2.18E-03 | ↓** | ↑* | Citrate cycle (TCA cycle) |
| 11 | 0.78 | 87.0099 | 13.1 | Pyruvic acid | C3H4O3 | [M-H]- | 1.32 | 2.19E-03 | ↓** | ↑** | Citrate cycle (TCA cycle) |
| 12 | 0.83 | 427.098 | -5.6 | Phosphatidylserine | C13H24NO10P | [M+H]+ | 1.49 | 2.86E-04 | ↓** | ↑** | -- |
| 13 | 1.48 | 535.1524 | -3.5 | Inosine | C10H12N4O5 | [M-H]- | 1.12 | 2.70E-02 | ↓* | ↑* | Purine metabolism |
| 14 | 1.49 | 157.014 | 6.1 | Hypoxanthine | C5H4N4O | [M-H]- | 1.03 | 3.44E-02 | ↓* | ↑* | Purine metabolism |
| 15 | 1.49 | 180.0671 | 2.6 | L-Tyrosine | C9H11NO3 | [M-H]- | 1.47 | 4.93E-05 | ↑** | ↓** | Tyrosine metabolism |
| 16 | 1.76 | 567.1431 | -1.8 | Xanthosine | C10H12N4O6 | [M-H]- | 1.35 | 8.37E-04 | ↓** | ↑** | Purine metabolism |
| 17 | 1.88 | 175.1205 | 8.7 | L-Arginine | C6H14N4O2 | [M-H]- | 1.42 | 3.52E-04 | ↑** | ↓* | Arginine biosynthesis |
| 18 | 1.95 | 495.0879 | -1.9 | CDP-glycerol | C12H21N3O13P2 | [M-H]- | 1.19 | 4.98E-03 | ↑** |  | -- |
| 19 | 2.39 | 205.0985 | 6.6 | L-Tryptophan | C11H12N2O2 | [M+H]+ | 1.43 | 2.75E-04 | ↑** |  | Tryptophan metabolism |
| 20 | 2.4 | 381.0737 | -16.7 | Melibiose | C12H22O11 | [M+H]+ | 1.29 | 6.68E-03 | ↓** | ↑* | Galactose metabolism |
| 21 | 5.22 | 657.5697 | -8.7 | Phytosphingosine | C18H39NO3 | [M+H]+ | 1.53 | 2.30E-04 | ↑** | ↓** | Sphingolipid metabolism |
| 22 | 5.63 | 351.2185 | 2.4 | Prostaglandin E2 | C20H32O5 | [M+H]+ | 1.36 | 9.77E-04 | ↓** | ↑** | Arachidonic acid metabolism |
| 23 | 7.05 | 339.2036 | -19.7 | Arachidonic acid | C20H32O2 | [M-H]- | 1.38 | 1.88E-03 | ↓** | ↑* | Arachidonic acid metabolism |
| 24 | 7.5 | 264.2688 | 0.8 | Sphingosine | C18H37NO2 | [M+H]+ | 1.38 | 8.64E-04 | ↑** | ↓** | Sphingolipid metabolism |
| 25 | 7.74 | 457.2369 | -18.6 | LysoPC(10:0) | C18H39NO7P+ | [M-H]- | 1.5 | 9.01E-06 | ↑** | ↓** | -- |
| 26 | 7.74 | 596.4016 | 15 | LysoPC(20:0) | C28H58NO7P | [M-H]- | 1.49 | 4.55E-04 | ↑** | ↓* | -- |
| 27 | 7.88 | 255.2334 | 1.8 | Palmitic acid | C16H32O2 | [M-H]- | 1.1 | 1.88E-02 | ↓* | ↑** | Fatty acid biosynthesis |
| 28 | 7.98 | 258.1125 | 9.4 | Glycerophosphocholine | C8H20NO6P | [M+H]+ | 1.11 | 1.26E-02 | ↑* |  | -- |
| 29 | 8.17 | 280.2446 | 17.8 | Linoleic acid | C18H32O2 | [M+H]+ | 1.11 | 1.24E-02 | ↑* |  | Linoleic acid metabolism |
| 30 | 8.56 | 452.317 | 7.7 | PC(O-14:1(1E)/0:0) | C22H46NO6P | [M+H]+ | 1.31 | 1.29E-03 | ↑* | ↓** | -- |
| 31 | 9.37 | 372.2717 | -7.8 | Prostaglandin F2a | C20H34O5 | [M+H]+ | 1.18 | 5.07E-03 | ↓** | ↑** | Arachidonic acid metabolism |
| 32 | 9.68 | 532.3755 | -1.3 | LysoPC(20:1(11Z)) | C28H56NO7P | [M+H]+ | 1 | 4.27E-02 | ↑* | ↓** | -- |
| 33 | 9.85 | 193.1296 | 0.2 | Citrulline | C6H13N3O3 | [M+H]+ | 1.43 | 2.14E-04 | ↑* |  | Arginine biosynthesis |
| 34 | 10 | 259.2075 | 6.8 | Stearidonic acid | C18H28O2 | [M-H]- | 1.31 | 1.05E-03 | ↑** | ↓* | alpha-Linolenic acid metabolism |
| 35 | 10.13 | 611.4244 | 3.3 | Retinol (Vitamin A) | C20H30O | [M+H]+ | 1.24 | 1.36E-02 | ↑* | ↓* | -- |
| 36 | 11.32 | 913.7934 | -22 | TG(14:0/22:0/20:3n6) | C59H108O6 | [M+H]+ | 1.49 | 8.68E-06 | ↑** | ↓** | -- |
| 37 | 11.32 | 661.4923 | 22.6 | Docosapentaenoic acid | C22H34O2 | [M+H]+ | 1.27 | 2.85E-03 | ↑** | ↓* | -- |
| 38 | 11.32 | 856.749 | 12.4 | TG(15:0/18:2(9Z,12Z)/16:1(9Z)) | C52H94O6 | [M+H]+ | 1.51 | 7.76E-06 | ↑** |  | -- |
| 39 | 11.33 | 842.7506 | 16.8 | PC(o-18:0/24:0) | C50H102NO7P | [M+H]+ | 1.49 | 3.06E-04 | ↑** | ↓* | -- |
| 40 | 11.33 | 870.7591 | 5.4 | TG(16:1(9Z)/16:1(9Z)/20:3(5Z,8Z,11Z)) | C55H96O6 | [M-H]- | 1.18 | 7.07E-03 | ↑** |  | -- |
| 41 | 11.55 | 829.7612 | -13.4 | TG(15:0/16:0/o-18:0) | C52H102O5 | [M-H]- | 1.28 | 1.84E-03 | ↑** |  | -- |
| 42 | 11.62 | 907.7963 | -54.5 | TG(20:0/14:1(9Z)/24:1(15Z)) | C61H114O6 | [M+H]+ | 1.3 | 2.54E-03 | ↑** |  | -- |
| 43 | 11.62 | 930.8384 | -11 | TG(14:0/24:0/18:3(9Z,12Z,15Z)) | C59H108O6 | [M+H]+ | 1.38 | 3.25E-04 | ↑** | ↓* | -- |
| 44 | 12.01 | 930.837 | -12.5 | TG(18:0/18:3(6Z,9Z,12Z)/20:0) | C59H108O6 | [M+H]+ | 1.41 | 1.05E-04 | ↑** | ↓** | -- |
| 45 | 12.16 | 423.3277 | -41.8 | Dodecanoic acid | C12H24O2 | [M+H]+ | 1.74 | 2.38E-03 | ↑** |  | Fatty acid biosynthesis |
| 46 | 13.39 | 477.0093 | -70.4 | CDP-Ethanolamine | C11H20N4O13P2 | [M-H]- | 1.28 | 1.46E-03 | ↑** |  | Glycerophospholipid metabolism |

Notes: ** indicates a statistically significant change (p<0.01) in the metabolite levels, * indicates a statistically significant change (p<0.05) in the metabolite levels.

Supplementary Fig. 1. Total ion chromatograms of HC extract analyzed by UPLC-Q-Exactive Focus MS in positive (A) and negative ion (B) modes.

Supplementary Fig. 2. Total ion chromatogram (TIC) diagram and principal component analysis (PCA) analysis of quality control (QC) samples.

Notes: (A-C) Positive ion TIC diagram of the Control, Model, and HCH groups. (D-F) Negative ion TIC diagram of the Control, Model, and HCH treatment groups. (G) Positive-ion QC sample PCA graph. (H) PCA chart for negative-ion QC samples.

Supplementary Fig. 3. Compound-reaction-enzyme-gene networks of key metabolites and DEGs using Metascape.

Notes: Hexagons: metabolites; chemical reactions: grey rhombuses; squares: metabolic enzymes; circles: genes. The input metabolites and genes are respectively highlighted in red and blue.